Rubberecycle

1985 Rutgers University Blvd.

Lakewood, NJ 08701

Toll Free	(888) 463-6846

Phone		(732) 363-0600

Fax		(732) 370-4247

Website	www.rubberecycle.com

E-mail		info@rubberecycle.com

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format.

The section must be carefully reviewed and edited by the Architect to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.

Delete all Specifier Notes when editing this section.

SECTION 32 18 16.13

POURED-IN-PLACE PLAYGROUND SURFACING

Specifier Notes: This section covers Rubberecycles “Rubberbond® Elevate” resilient, poured-in-place, playground safety surfacing. Consult Rubberecycle for assistance in editing this section for the specific application.

PART 1	GENERAL

1.01	SUMMARY

A.	Section Includes: Poured-in-Place, playground safety surfacing: RubberBond Elevate.

1.2	REFERENCES

Specifier Notes: List standards referenced in this section, complete with designations and titles. This article may be omitted when specifying manufacturer’s proprietary products and recommended installation.

- ASTM F 1292 - Standard Specification for Impact Attenuation of Surface Systems Under and        Around Playground Equipment.

- ASTM D 412 – Standard Test Methods for Vulcanized Rubber and Thermoplastic Elastomers -     Tension

- ASTM D 624 – Standard Test Method for Tear Strength  of conventional Vulcanized Rubber and    Thermoplastic Elastomers.

- ASTM C 1028 – Standard Test Method for Determining the Static Coefficient of Friction of           Ceramic Tile and other Like Surfaces by the Horizontal Dynamometer Pull Meter Method.

- ASTM D 2047 – Standard Test Method for Static Coefficient of Friction of Polish-Coated      Flooring Surfaces as Measured by the James Machine.

- ASTM E 303 – Standard Test Method for Measuring Surface Frictional Properties Using the British Pendulm Tester

- ASTM D 2859 – Standard Test Method for Ignition Characteristics of finished Textile Floor     Covering Materials.

- ASTM F 1551 – Standard Test Methods for Comprehensive Characterization of Synthetic Turf Playing Surfaces and Material: Suffix – DIN 18-035 Part 6: Water Permeability of Synthetic Turf   systems and Permeable Bases.

I.	US Consumer Product Safety Commission (CPSC) Handbook for Playground Safety.

1.3	SUBMITTALS

A.	Submit listed submittals in accordance with conditions of the contract and Division 1 submittal procedures section.

B.	Product Data:  Submit manufacturer's product data

C.	Verification Samples:  Submit manufacturer's sample package of RubberBond playground.surfacing

D.	Test Reports:  Submit test reports from qualified independent testing agency indicating results of the following tests:

- Impact Attenuation: ASTM F 1292

- Tensile Strength ASTM D 412

- Tear Strength ASTM D 624

- Coefficient of Friction ASTM C1028

- Coefficient of Friction ASTM D 2047

- Skid Resistance ASTM E 303

- Flammability ASTM D 2859

- Water Permeability ASTM F 1551

- ADA Firmness, stability, slip resistant ASTM F-1951

E.	Certificate of Compliance:

1.      Submit manufacturer's certificate of compliance indicating materials comply with specified          requirements.

2.       Submit certificate of qualifications of the playground surfacing installer

F.	Manufacturer's Project References: ( Upon Request )

1.	Submit list of successfully completed projects.

2.	Include project name, location, and name of owner’s representative.

G.	Maintenance Instructions:  Submit manufacturer's maintenance and cleaning instructions.

H.	Warranty:  Submit manufacturer's standard warranty.

1.4	QUALITY ASSURANCE

A.	Manufacturer's Qualifications:  Manufacturer shall meet both of the following 2 requirements.

1.	Engaged in manufacturing of poured-in-place playground safety surfacing of similar type to that specified, with a minimum of 10 years successful experience.

2.	Furnished a minimum of 100,000 square feet of poured-in-place playground safety surfacing of similar type to that specified.

3.	Product must be IPEMA approved.

B.	Installer's Qualifications:

1.	Utilize an installer with successful experience in installation of poured-in-place playground safety surfacing of similar type to that specified.

2.	Employ persons trained for installation of RubberBond poured-in-place playground safety surfacing.

3.	Approved by manufacturer.

1.5	DELIVERY, STORAGE, AND HANDLING

- General:  Comply with Divison 1 Product Requirement Section.

- Delivery:  Deliver materials in manufacturer's original, unopened containers with original product identification labels.

C.	Storage and Protection:

1.	Store materials in accordance with manufacturer's instructions.

2.	Store materials in a dry area at a minimum temperature of 50 degrees F (10 degrees C) for a minimum of 72 hours before installation.

D.	Handling:  Protect materials during handling and installation from harmful environmental conditions.

1.6	PROJECT CONDITIONS

A.	Material Temperature:  Ensure material temperature is a minimum of 50 degrees F (10 degrees C) at time of installation.

B.	Air Temperature:  Install surfacing when ambient temperature is a minimum of 40 degrees F (4 degrees C) and a maximum of 90 degrees F (32 degrees C) for a minimum of 24 hours before, during, and after installation.

1.7	WARRANTY

- Project Warranty: Refer to conditions of the contract for project warranty provisions.

- Manufacturers Warranty:  Submit manufacturers standard warranty document.

- Materials and Workmanship:  RubberBond playground surfacing shall be warranted for defects in materials and workmanship for 7 years from date of completed installation.

- Performance: RubberBond playground surfacing shall be warranted to meet drop height performance requirements of ASTM F 1292 for 7 years from date of completed installation.

PART 2	PRODUCTS

2.1	MANUFACTURER

A.	Rubberecycle LLC., 1985 Rutgers University Blvd, Lakewood, NJ 08701. Toll Free (888) 436-6846.  Phone (732) 363-0600.  Fax (732) 370-4247.  Website www.rubbermulch.com.  E-mail info@rubbermulch.com.

2.2	RUBBERBOND EPDM PLAYGROUND SURFACING

A.	Poured-in-Place Surfacing:  “RubberBond Elevate”.

1.	Description:  Dual-layer, playground surfacing consisting of a compacted SBR rubber base layer and a resilient, seamless EPDM poured-in-place top surface.

3.	Compliance:  Meet or exceed CPSC guidelines for impact attenuation.

4.	Material: EPDM granules mixed with 100 percent solids MDI polyurethane binding resin.

5.	Base Course: Compacted SBR shredded rubber

a.	Compacted Weight:  11 pounds per sq.ft

b.	Thickness:  3.5 inches

6.	Wear Course:  Granulated EPDM rubber granules mixed with 100% solids MDI polyurethane binder.

a.      Thickness: 1.5 inches

b.	Binder to Rubber Ratio:  21 percent.

c.      Compacted weight: 5 pounds per sq.ft

7.	Total  System Thickness:  5 inches

8.	Total system Weight: 16 pounds per sq.ft.

Specifier Notes: Specify colors for Rubberbond playground safety surfacing. Colors are typically specified as a mix of black and color to create a speckled appearance. Consult Rubberecycle for additional information.

8.	Colors:  [Black]  [Blue]  [Beige] [Terra Cotta]  [Brown]  [Green] [Grey] ____________ ]  [As indicated on the Drawings].

B.	Test Results

1.	Impact Attenuation, ASTM F 1292:

a.	Gmax:  Less than 100.

b.	Head Injury Criteria (HIC):  Less than 500.

2.      Tensile Strength ASTM D 412

a. Tensile Strength:  89.4 psi

b.  Elongation 35.93%

3.      Tear Strength ASTM D 624

a. Machine: 5.26 lbs

b.  Cross Machine: 6.22 lbs

4.      Coefficient of Friction ASTM C1028

a. Dry: 85

b. Wet: 87

5.	Coefficient of Friction ASTM D 2047

a. Dry 1.15

b. Wet: .97

6.	Skid Resistance ASTM E 303

a. Dry: 91

b. Wet: 49

7.	Flammability ASTM D 2859

a. Pass

- Water Permeability ASTM F 1551

a. 2245.5 Inches/Hour

PART 3	EXECUTION

Specifiers Notes: Specify actions required to determine that conditions are acceptable to receive products of the section.

3.1	EXAMINATION

- Site Verification of Conditions: Verify that substrate conditions are suitable for installation of poured-in-place surfacing.

- Verify that the appropriate sub-grade elevation has been established for the particular safety surface being installed.

- Verify that the subsurface has been installed per the architectural, site or equipment plans including accessibility and use zones. Notify Architect if areas are not acceptable.  Do not begin installation until unacceptable conditions have been corrected.

3.2	PREPARATION

A.	Prepare subsurface in accordance with manufacturer's instructions and recommendations

Specifier Notes: Specify subsurface of compacted stone, concrete, or asphalt. Include the following sentence when a compacted stone subsurface is required. Include the section number of the Division 2 section specifying the granular aggregate subsurface preparation.

- Compacted Stone:

- Compacted, stone subsurface shall be as specified in Section 02_______ .

- Tolerance of stone sub-base shall be within 1/2 inch in 10 feet

- Verify that aggregate sub-base has been fully compacted.

Any clean ¾” stone is suitable. It must compact well and be permeable. Recycled concrete from clean sources is acceptable and preferred. It must be placed over compacted earth or other stable base. 2-3” is generally adequate. Note: Clean ¾” stone is often specified by professionals for its purity, but compaction is generally difficult unless it is rolled. Large machines/compaction devices will not be able to compact this type of stone well since they cannot get in close to the equipment.

C.	Concrete Subsurface:

1.	Concrete subsurface shall be as specified in Section 03300.

2.	Apply light broom finish.

3.	Ensure concrete is sound with no cracks or loose material.

4.	Ensure concrete is a minimum of 7 days old.

5.      Ensure that all concrete curing compounds and any other contaminants have been removed

6.      Surface shall be dry and clean

Specifier Notes: Include the following paragraph when an asphalt subsurface is required.

D.	Asphalt Subsurface:

1.	Asphalt subsurface shall be as specified in Section 02_______ .

2.	Ensure asphalt is sound with no cracks or loose material.

3.	Ensure asphalt has cured for a minimum of 14 days

3.3	INSTALLATION

A.     Do not proceed with installation until all applicable site work, including substrate preparation, playground equipment installation and other relevant work has been completed.

B.	Install poured-in-place playground safety surfacing in accordance with manufacturer's instructions at locations indicated on the Drawings.

C.	Ensure prepared subsurface is dry and clean.

D.	Install edges in accordance with manufacturer's edge detail instructions and as indicated on the Drawings.

Specifier Notes: Installations over 1,500 square feet may contain a cold seam. Consult Rubberecycle for additional information.

E.	Install cold seams in areas containing graphics and as indicated on the Drawings.

  - FIELD QUALITY CONTROL

- Post Installation Safety Testing: ASTM F 1292 Field Test Method

  - Provide testing of playground safety surfacing system within 30 days of installation. Contractor shall give the Architect and the owner 48 hours previous notice.

  - Conduct testing by competent persons trained in the use of test equipment

  - Determine compliance with ASTM 1292 unless otherwise specified in this section.

  - Provide written report of findings to Owner and Landscape Architect, with photographs.

3.5	PROTECTION

Specifier Notes: Estimated time for poured-in-place to cure will range from 12 to 48 hours depending on temperature and humidity. Consult Rubberecycle for additional information.

A.	Do not allow foot traffic until poured-in-place playground safety surfacing has cured.

B.	Protect completed playground safety surfacing from damage during construction and curing.

END OF SECTION